## Instructions
Instructions for Completing KHC's Capital Reserve Replacement Schedule
WHO SHOULD COMPLETE THIS WORKSHEET:
▪ Project Architect.
▪ Someone otherwise qualified per KHC guidelines to complete a PCNA.
HOW THIS WORKSHEET WILL BE USED:
▪ This worksheet will be used by KHC during up-front project underwriting AND long-term asset management.
▪ This spreadsheet must be consistent with the submitted PCNA or Capital Needs Assessment.
▪ Applicants seeking KHC multifamily financing and funding will transfer the "Total Capital Needs" from this CRRS sheet to the KHC Underwriting Model. These numbers must match.
FILLING OUT THE CRRS:
1) Project - Enter the project name.
2) Address - Enter the project address.
3) Number of Units - Enter the total number of units in the project.
4) Number of Buildings - Total buildings in the project. This would include non unit buildings such as standalone office buildings.
5) Project age - The project's age since original construction. If the project is to be new construction, enter "0."
6) KHC Loan Term - For KHC funding other than tax credits, enter the term of the KHC loan. If you are requesting multiple loans, enter the term of the longest one. Tax Credit-only projects should enter 15 years.
7) Inflation Factor - Preset and is not to be changed.
8) Annual Reserve Per Unit - The initial annual reserve payment to be paid each year. This is not a monthly amount, even if you will make smaller monthly payments.
9) % Increase in Annual Reserve Payment - A minimum of 3%. Normally not adjusted but it does allow adjustment up if you want to propose a higher annual increase.
10) Beginning Balance - Beginning balance of the reserve account. Does not include the first year's annual payment. This is an initial deposit to the account prior to start of operations.
11) Name of Person Completign this Form - Self explanatory.
12) Qualifications/Credentials - Qualification requirements are located in the multifamily guidelines. Enter how this person is qualified per the guidelines.
13) Name of Company/Firm - Name of the company/firm for which the preparer works.
14) Phone & Email - Enter this information for the person completing the form.
15) Item - Enter specific items under the heading marked "Item." For example, you could enter "Hot Water Heater."
16) EUL - Enter the Estimated Useful Life of the item from the Fannie Mae Expected Useful Life tables.
17) RUL - If this is a rehab and the listed item is not being replaced during rehab, list the Remaining Useful Life (RUL) as found in the PCNA. If items (stoves, for example) have varying RULs, just enter them as different items.
18) Quantity - Enter the quantity of the specific item.
19) Cost Per - Enter cost of each unit of the specific item. For example, if you have 24 stoves that cost $350 each, enter 350 (do not enter the dollar sign).
20) To add additional rows, Click the "Insert" button located in the heading row for the specifc section you are working on. This will require you to "Enable Content" when prompted. This will most likely be in a security warning at the top of the page and you will only have to do it once.
RESERVE ACCOUNT ANALYSIS (Section at botton of page):
17) Annual Interest on Reserve Account - This is preset to 2%. KHC might consider allowing some change to this if we are not holding the account and you can verify why it should be different.
18) General Notes - Enter any general, non cost-related notes that you feel are necessary for explanation purposes.
19) Cost Notes - Enter any notes necessary to explain item costs, or refer to the PCNA or Capital Needs Assessment study.
RESERVE ACCOUNT ACCEPTABILITY:
▪ Specific requirements as to the acceptability of the projection balances are found in the current multifamily guidelines.
▪ Variables that can be adjusted to produce an acceptable projection include:
- KHC Loan Term
- Annual Reserve Per Unit
- Beginning Balance
- Project specifics that create the need for the listed items.
▪ In all cases where a Physical Capital Needs Assessment (PCNA) has been performed, it should be consistent with this projection.

## CRRS Template
Capital Reserve Replacement Schedule
| Project: | [8 empty] | KHC Loan Term: |  | Years |  |  | Name of Person Completing this Form:
| Address: | [8 empty] | Inflation Factor: | 3% |  |  |  | Qualifications/Creditials:
| Number of Units: | [8 empty] | Annual Reserve Per Unit: |  |  |  |  | Name of Company/Firm:
| Number of Buildings: |  | (including office) | [6 empty] | % Increase in Annual Reserve Payment: | 3% |  |  |  | Phone #: |  |  | Email:
| Project Age: |  | (0 if new construction) |  |  |  |  | Beginning Capital Reserve Balance:
"Enable Content" when Prompted
[5 empty] | COST | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Total
# | ITEM | EUL | RUL | QUANTITY | PER | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
[6 empty] | Inflation Factor: | 103% | 106.1% | 109.3% | 112.6% | 115.9% | 119.4% | 123% | 126.7% | 130.5% | 134.4% | 138.4% | 142.6% | 146.9% | 151.3% | 155.8% | 160.5% | 165.3% | 170.2% | 175.4% | 180.6% | 186% | 191.6% | 197.4% | 203.3% | 209.4% | 215.7% | 222.1% | 228.8% | 235.7% | 242.7% | 250% | 257.5% | 265.2% | 273.2% | 281.4% | 289.8% | 298.5% | 307.5% | 316.7% | 326.2%
Site Elements
[6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Exterior Building Elements
[6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Mechanical & Electrical
[6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Life, Safety & Fire Protection
[6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Interior Elements
[6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | Transfer these totals to the KHC Underwriting Model: | Total Capital Needs: |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Per Unit Amount |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[6 empty] | Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25 | Year 26 | Year 27 | Year 28 | Year 29 | Year 30 | Year 31 | Year 32 | Year 33 | Year 34 | Year 35 | Year 36 | Year 37 | Year 38 | Year 39 | Year 40
| Reserve Account Analysis |  |  |  | Beginning of the year balance: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | Annual reserve deposits: |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | Capital needs: |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | Annual net change: |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | Sub-Total: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Annual Interest on Reserve Account: | 2% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | End of the year balance: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | General Notes | [7 empty] | Cost Notes
Note on D12: EUL = Expected Useful Life (From Fannie Mae EUL tables)
Note on E12: Remaining Useful Life
Note on G36: Inflated annually by the same factor used above.

## 15 Year Example
Capital Reserve Replacement Schedule
| Project: | Generic Apartments | [7 empty] | KHC Loan Term: | 15 | Years |  |  | Name of Person Completing this Form: | John Doe, AIA
| Address: | Lexington, KY 40503 | [7 empty] | Inflation Factor: | 3% |  |  |  | Qualifications/Creditials: | Architect for the project
| Number of Units: | 24 | [7 empty] | Annual Reserve Per Unit: | 470 |  |  |  | Name of Company/Firm: | DesignsRUs
| Number of Buildings: | 2 | (including office) | [6 empty] | % Increase in Annual Reserve Payment: | 3% |  |  |  | Phone #: | 555-555-5555 |  | Email: | bugoff@nope.com
| Project Age: | 0 | (0 if new construction) |  |  |  |  | Beginning Capital Reserve Balance: |  |  | 75000
Inflation Factor:
See Instructions tab for help adding rows | [48 empty] | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
[5 empty] | COST | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Total |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
# | ITEM | EUL | RUL | QUANTITY | PER | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 |  | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
[6 empty] | Inflation Factor: | 103% | 106.1% | 109.3% | 112.6% | 115.9% | 119.4% | 123% | 126.7% | 130.5% | 134.4% | 138.4% | 142.6% | 146.9% | 151.3% | 155.8% | 160.5% | 165.3% | 170.2% | 175.4% | 180.6% | 186% | 191.6% | 197.4% | 203.3% | 209.4% | 215.7% | 222.1% | 228.8% | 235.7% | 242.7% | 250% | 257.5% | 265.2% | 273.2% | 281.4% | 289.8% | 298.5% | 307.5% | 316.7% | 326.2% |  | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
Site Elements | [47 empty] | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Re-grade and landscape | 50 |  | 1 | 4800 | 4800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Parking lot repairs 7500 S.F. | 5 | 3 | 1 | 1128 | 0 | 0 | 0 | 1232.5961 | 0 | 0 | 0 | 0 | 1428.9167 | 0 | 0 | 0 | 0 | 1656.506 | 0 | 0 | 0 | 0 | 1920.3445 | 0 | 0 | 0 | 0 | 2226.2056 | 0 | 0 | 0 | 0 | 2580.7824 | 0 | 0 | 0 | 0 | 2991.8341 | 0 | 0 | 0 | 0 | 3468.3558 | 0 | 0 | 17505.5411 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Re-stripe parking 24 Stalls | 10 |  | 1 | 240 | 240 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 322.5399 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 433.4667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 582.543 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 782.8891 | 2121.4387 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Repave parking lots 7500 S. F. | 25 |  | 1 | 5640 | 5640 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11808.9075 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11808.9075 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Handicap ramp maintenance | 15 |  | 2 | 1500 | 3000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4673.9022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7281.7874 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11955.6897 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Replace 500 S.F. sidewalk | 15 |  | 1 | 624 | 624 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 972.1717 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1514.6118 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2486.7834 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Building signage | 15 |  | 1 | 750 | 750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1168.4756 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1820.4469 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2988.9224 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Handicap signage | 15 |  | 2 | 100 | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 311.5935 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 485.4525 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 797.046 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Dumpster Enclosure 1000 L.F. | 15 |  | 1 | 12000 | 12000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18695.609 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29127.1497 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47822.7587 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Dumpster Pad 225 S. F. | 20 |  | 1 | 912 | 912 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1647.1734 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2974.9785 | 4622.1519 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Other | 30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
Exterior Building Elements | [47 empty] | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Hardie Plank 11,575 S.F. | 20 |  | 1 | 115752 | 115752 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 209060.9876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 377587.3985 | 586648.3861 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Soffits 800 S.F. | 15 |  | 1 | 3840 | 3840 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5982.5949 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9320.6879 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15303.2828 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Breezeway 1100 S.F. | 20 |  | 1 | 10992 | 10992 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19852.7747 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35856.3194 | 55709.0941 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Exterior Painting | 5 |  | 1 | 12000 | 12000 | 0 | 0 | 0 | 0 | 13911.2889 | 0 | 0 | 0 | 0 | 16126.9966 | 0 | 0 | 0 | 0 | 18695.609 | 0 | 0 | 0 | 0 | 21673.3348 | 0 | 0 | 0 | 0 | 25125.3352 | 0 | 0 | 0 | 0 | 29127.1497 | 0 | 0 | 0 | 0 | 33766.3495 | 0 | 0 | 0 | 0 | 39144.4535 | 197570.517 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Roof replacement 9600 S.F. | 20 |  | 2 | 9120 | 18240 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32943.4689 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 59499.5693 | 92443.0382 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Refurbish stairs | 15 |  | 2 | 6000 | 12000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18695.609 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29127.1497 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47822.7587 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Replace stairs | 30 |  | 2 | 12000 | 24000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58254.2993 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58254.2993 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Awning | 10 |  | 4 | 4200 | 16800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22577.7952 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30342.6687 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40778.0095 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54802.2349 | 148500.7083 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Exterior doors | 15 |  | 48 | 175 | 8400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13086.9263 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20389.0048 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33475.9311 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Exterior Storm Screens | 7 |  | 24 | 200 | 4800 | 0 | 0 | 0 | 0 | 0 | 0 | 5903.3946 | 0 | 0 | 0 | 0 | 0 | 0 | 7260.4307 | 0 | 0 | 0 | 0 | 0 | 0 | 8929.4139 | 0 | 0 | 0 | 0 | 0 | 0 | 10982.0528 | 0 | 0 | 0 | 0 | 0 | 0 | 13506.5398 | 0 | 0 | 0 | 0 | 0 | 46581.8318 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Exterior windows per unit | 20 |  | 24 | 1718 | 41232 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 74469.5784 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 134500.3422 | 208969.9207 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Other | 30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
Mechanical & Electrical | [47 empty] | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| HVAC Split System (3) | 15 |  | 24 | 5000 | 120000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 186956.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 291271.4965 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 478227.5865 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Hot water heaters (3) | 15 |  | 24 | 1500 | 36000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 56086.827 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 87381.449 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 143468.276 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Range hoods | 15 |  | 24 | 400 | 9600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14956.4872 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23301.7197 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38258.2069 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Exterior Lighting / Breezeways | 25 |  | 2 | 500 | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2093.7779 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2093.7779 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Interior Unit lighting | 25 |  | 24 | 500 | 12000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25125.3352 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25125.3352 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Other | 30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
Life, Safety & Fire Protection | [47 empty] | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Smoke detectors | 10 |  | 96 | 50 | 4800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6450.7986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8669.3339 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11650.8599 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15657.7814 | 42428.7738 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Other | 30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
Interior Elements | [47 empty] | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Gypsum repair | 15 |  | 24 | 150 | 3600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5608.6827 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8738.1449 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14346.8276 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Painting | 5 |  | 24 | 800 | 19200 | 0 | 0 | 0 | 0 | 22258.0622 | 0 | 0 | 0 | 0 | 25803.1945 | 0 | 0 | 0 | 0 | 29912.9744 | 0 | 0 | 0 | 0 | 34677.3357 | 0 | 0 | 0 | 0 | 40200.5362 | 0 | 0 | 0 | 0 | 46603.4394 | 0 | 0 | 0 | 0 | 54026.1591 | 0 | 0 | 0 | 0 | 62631.1256 | 316112.8272 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Carpeting 500 S.F. | 7 |  | 24 | 1750 | 42000 | 0 | 0 | 0 | 0 | 0 | 0 | 51654.7023 | 0 | 0 | 0 | 0 | 0 | 0 | 63528.7684 | 0 | 0 | 0 | 0 | 0 | 0 | 78132.372 | 0 | 0 | 0 | 0 | 0 | 0 | 96092.9624 | 0 | 0 | 0 | 0 | 0 | 0 | 118182.2231 | 0 | 0 | 0 | 0 | 0 | 407591.0283 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Water Closet | 20 |  | 24 | 450 | 10800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19506.0013 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35230.0082 | 54736.0095 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Tub/Shower Unit | 20 |  | 24 | 900 | 21600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39012.0027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70460.0163 | 109472.019 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Interior bi-fold doors | 15 |  | 24 | 150 | 3600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5608.6827 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8738.1449 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14346.8276 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| New door hardware | 15 |  | 24 | 40 | 960 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1495.6487 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2330.172 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3825.8207 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Vinyl tile 200 S.F. | 15 |  | 24 | 750 | 18000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28043.4135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43690.7245 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 71734.138 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Bath countertops & sink | 10 |  | 24 | 300 | 7200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9676.1979 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13004.0009 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17476.2898 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23486.6721 | 63643.1607 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Kitchen countertops & sink | 10 |  | 24 | 1000 | 24000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32253.9931 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43346.6696 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58254.2993 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 78288.907 | 212143.8691 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Washers (3) | 15 |  | 24 | 650 | 15600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24304.2917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37865.2946 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62169.5862 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Dryers | 15 |  | 24 | 650 | 15600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24304.2917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37865.2946 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62169.5862 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Refrigerator (3) | 15 |  | 24 | 900 | 21600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33652.0962 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 52428.8694 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 86080.9656 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Stove | 15 |  | 24 | 600 | 14400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22434.7308 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34952.5796 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 57387.3104 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Dishwasher (3) | 15 |  | 24 | 600 | 14400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22434.7308 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34952.5796 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 57387.3104 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Garbage disposal | 15 |  | 24 | 200 | 4800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7478.2436 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11650.8599 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19129.1035 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
| Window coverings (miniblinds) | 5 |  | 48 | 60 | 2880 | 0 | 0 | 0 | 0 | 3338.7093 | 0 | 0 | 0 | 0 | 3870.4792 | 0 | 0 | 0 | 0 | 4486.9462 | 0 | 0 | 0 | 0 | 5201.6004 | 0 | 0 | 0 | 0 | 6030.0804 | 0 | 0 | 0 | 0 | 6990.5159 | 0 | 0 | 0 | 0 | 8103.9239 | 0 | 0 | 0 | 0 | 9394.6688 | 47416.9241 | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
Tranfser these totals to the KHC Underwriting Model: |  |  |  | Total Capital Needs: |  | 719862 | 0 | 0 | 1232.5961 | 0 | 39508.0605 | 0 | 57558.0969 | 1428.9167 | 0 | 117081.995 | 0 | 0 | 1656.506 | 70789.1991 | 550046.6283 | 0 | 0 | 1920.3445 | 0 | 553840.3979 | 87061.786 | 0 | 2226.2056 | 0 | 110383.9725 | 0 | 0 | 109655.7976 | 0 | 1043951.0253 | 0 | 0 | 2991.8341 | 0 | 227585.1953 | 0 | 0 | 3468.3558 | 0 | 1000297.3648 | 3982684.2778
|  |  |  | Per Unit Amount |  | 29994.25 | 0 | 0 | 51.3582 | 0 | 1646.1692 | 0 | 2398.254 | 59.5382 | 0 | 4878.4165 | 0 | 0 | 69.0211 | 2949.55 | 22918.6095 | 0 | 0 | 80.0144 | 0 | 23076.6832 | 3627.5744 | 0 | 92.7586 | 0 | 4599.3322 | 0 | 0 | 4568.9916 | 0 | 43497.9594 | 0 | 0 | 124.6598 | 0 | 9482.7165 | 0 | 0 | 144.5148 | 0 | 41679.0569 | 165945.1782
[6 empty] | Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25 | Year 26 | Year 27 | Year 28 | Year 29 | Year 30 | Year 31 | Year 32 | Year 33 | Year 34 | Year 35 | Year 36 | Year 37 | Year 38 | Year 39 | Year 40
| Reserve Account Analysis |  |  |  | Beginning of the year balance: | 75000 | 75000 | 87780 | 101154 | 113911.4359 | 128515.6252 | 104273.6167 | 119435.7005 | 77735.2276 | 91733.9927 | 107857.839 | 7650.8424 | 22963.236 | 39036.6587 | 54243.4687 | 1104.1992 | -531858.333 | -514284.4605 | -496183.3719 | -479459.5951 | -460256.1502 | -994316.9998 | -1061005.851 | -1040021.7282 | -1020634.2874 | -998372.2315 | -1085826.2865 | -1062208.4714 | -1037882.1219 | -1122481.7796 | -1096673.9554 | -2114042.9218 | -2086663.4011 | -2058462.4948 | -2032407.3955 | -2002489.054 | -2199258.3575 | -2167517.9891 | -2134825.4095 | -2104620.4084 | -2069936.8507 |  | 3% | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061 | 1.8603 | 1.9161 | 1.9736 | 2.0328 | 2.0938 | 2.1566 | 2.2213 | 2.2879 | 2.3566 | 2.4273 | 2.5001 | 2.5751 | 2.6523 | 2.7319 | 2.8139 | 2.8983 | 2.9852 | 3.0748 | 3.167 | 3.262
[5 empty] | Annual reserve deposits: |  | 11280 | 11618.4 | 11966.952 | 12325.9606 | 12695.7394 | 13076.6116 | 13468.9099 | 13872.9772 | 14289.1665 | 14717.8415 | 15159.3768 | 15614.1581 | 16082.5828 | 16565.0603 | 17062.0121 | 17573.8725 | 18101.0886 | 18644.1213 | 19203.4449 | 19779.5483 | 20372.9347 | 20984.1228 | 21613.6465 | 22262.0558 | 22929.9175 | 23617.815 | 24326.3495 | 25056.14 | 25807.8242 | 26582.0589 | 27379.5207 | 28200.9063 | 29046.9335 | 29918.3415 | 30815.8917 | 31740.3685 | 32692.5795 | 33673.3569 | 34683.5576 | 35724.0644
[5 empty] | Capital needs: |  | 0 | 0 | -1232.5961 | 0 | -39508.0605 | 0 | -57558.0969 | -1428.9167 | 0 | -117081.995 | 0 | 0 | -1656.506 | -70789.1991 | -550046.6283 | 0 | 0 | -1920.3445 | 0 | -553840.3979 | -87061.786 | 0 | -2226.2056 | 0 | -110383.9725 | 0 | 0 | -109655.7976 | 0 | -1043951.0253 | 0 | 0 | -2991.8341 | 0 | -227585.1953 | 0 | 0 | -3468.3558 | 0 | -1000297.3648
[5 empty] | Annual net change: |  | 11280 | 11618.4 | 10734.3559 | 12325.9606 | -26812.3211 | 13076.6116 | -44089.187 | 12444.0606 | 14289.1665 | -102364.1535 | 15159.3768 | 15614.1581 | 14426.0768 | -54224.1388 | -532984.6162 | 17573.8725 | 18101.0886 | 16723.7768 | 19203.4449 | -534060.8496 | -66688.8512 | 20984.1228 | 19387.4409 | 22262.0558 | -87454.0549 | 23617.815 | 24326.3495 | -84599.6577 | 25807.8242 | -1017368.9664 | 27379.5207 | 28200.9063 | 26055.0993 | 29918.3415 | -196769.3036 | 31740.3685 | 32692.5795 | 30205.0012 | 34683.5576 | -964573.3005
[5 empty] | Sub-Total: | 75000 | 86280 | 99398.4 | 111888.3559 | 126237.3965 | 101703.3041 | 117350.2282 | 75346.5135 | 90179.2881 | 106023.1592 | 5493.6856 | 22810.2191 | 38577.394 | 53462.7355 | 19.3299 | -531880.417 | -514284.4605 | -496183.3719 | -479459.5951 | -460256.1502 | -994316.9998 | -1061005.851 | -1040021.7282 | -1020634.2874 | -998372.2315 | -1085826.2865 | -1062208.4714 | -1037882.1219 | -1122481.7796 | -1096673.9554 | -2114042.9218 | -2086663.4011 | -2058462.4948 | -2032407.3955 | -2002489.054 | -2199258.3575 | -2167517.9891 | -2134825.4095 | -2104620.4084 | -2069936.8507 | -3034510.1512
|  |  |  | Annual Interest on Reserve Account: | 2% | 0 | 1500 | 1755.6 | 2023.08 | 2278.2287 | 2570.3125 | 2085.4723 | 2388.714 | 1554.7046 | 1834.6799 | 2157.1568 | 153.0168 | 459.2647 | 780.7332 | 1084.8694 | 22.084 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | End of the year balance: | 75000 | 87780 | 101154 | 113911.4359 | 128515.6252 | 104273.6167 | 119435.7005 | 77735.2276 | 91733.9927 | 107857.839 | 7650.8424 | 22963.236 | 39036.6587 | 54243.4687 | 1104.1992 | -531858.333 | -514284.4605 | -496183.3719 | -479459.5951 | -460256.1502 | -994316.9998 | -1061005.851 | -1040021.7282 | -1020634.2874 | -998372.2315 | -1085826.2865 | -1062208.4714 | -1037882.1219 | -1122481.7796 | -1096673.9554 | -2114042.9218 | -2086663.4011 | -2058462.4948 | -2032407.3955 | -2002489.054 | -2199258.3575 | -2167517.9891 | -2134825.4095 | -2104620.4084 | -2069936.8507 | -3034510.1512
[6 empty] | General Notes | [7 empty] | Cost Notes
Parking Lot Repairs: $0.75 S.F. Carpet: $3.50 S.F. Restripe Parking Lot: $10/stall Vinyl Flooring: $3.75 S.F. Sidewalk Repair: $1.25 S.F. Cement Fiber Board: $10 S.F. Seal Parking Lot: $0.15 S.F. Soffit: $4.80 S.F. Building Signage: $750 Each Roofing: $1.90 S.F. Dumpster Enclosure: $12 L.F. Applicances: Unit Cost Plus Labor Dumpster Pad Concrete: $4 S.F.
Note on D12: EUL = Expected Useful Life (From Fannie Mae EUL tables)
Note on E12: Remaining Useful Life
Note on G71: Inflated annually by the same factor used above.